## DOCUMENT
TAG | #ID | UUID | NAME | DESCRIPTION | ANNOTATION | VENDORREF | INSTRUMENTREF
DOCUMENT | documentID001
CREATOR | creatorID001 | 06a2eb4f-a957-46be-b6b2-076ba2c7592d | AAAA:HPLCsystem |  | 高速液体クロマトグラフ機器 | vendorID001 | instrumentID001
VENDOR | vendorID001 | 0a62be35-5245-4f8b-9385-3fa0d1ad9ebc | AAAACorporation |  | AAAA株式会社
OWNER | ownerID001 | 3d3d1564-11fc-44ac-9d78-89749bb26f0e | BBBB:TANAKA
INSTRUMENT | instrumentID001 | 6e8c295c-f05f-4d2d-9c2b-c75918820141 | HPLC

## PROTOCOL
TAG | #ID | UUID | NAME | DESCRIPTION | ANNOTATION | PARENTID | TRANSITIONREF
PROTOCOL | HPLCprotocolID001
METHOD | HPLCmethodID001
PNML | HPLCpnmlID001 |  |  |  |  | HPLCmethodID001
PROGRAM | HPLCprogramID001 |  |  |  |  | HPLCmethodID001
INSTRUCTION | HPLCinstructionID001 |  |  |  |  | HPLCprogramID001 | HPLCtransition001

## @HPLCpnmlID001
TYPE | #ID | SOURCE | TARGET | NAME | DESCRIPTION
ARC | HPLCarc001 | HPLCM_P001 | HPLCtransition001
ARC | HPLCarc002 | HPLCC_P001 | HPLCtransition001
ARC | HPLCarc003 | HPLCtransition001 | HPLCR_P001
PLACE | HPLCM_P001
PLACE | HPLCC_P001
PLACE | HPLCR_P001
TRANSITION | HPLCtransition001
HPLCM_P001
HPLCC_P001
HPLCR_P001
HPLCtransition001
HPLCarc001
HPLCarc002
HPLCarc003

## @HPLCprogramID001
TYPE | #ID | UUID | PLACEREF | NAME | DESCRIPTION | ANNOTATION | TEMPLATEREF
MATERIALTEMPLATE | HPLCmaterialTemplateID001 |  | HPLCM_P001 |  |  | HPLC対象試料
CONDITIONTEMPLATE | HPLCconditionTemplateID001 |  | HPLCC_P001 |  |  | HPLC実行時の入力条件
RESULTTEMPLATE | HPLCresultTemplateID001 |  | HPLCR_P001 |  |  | HPLC出力結果

## TEMPLATE
TEMPLATEID | TYPE | #KEY | #XSI:TYPE | #UNITS | #FORMATSTRING | #SCALEFACTOR | #AXIS | #SIZE | PARENTKEY | VALUE | DESCRIPTION
HPLCmaterialTemplateID001 | property | BBBBHPLC:materialinfo | propertyListType
HPLCmaterialTemplateID001 | property | BBBBHPLC:samplename | qualifiedNameType | [5 empty] | BBBBHPLC:materialinfo | sample_name
HPLCmaterialTemplateID001 | property | BBBBHPLC:sampleID | uuidType | [5 empty] | BBBBHPLC:materialinfo | 3dc882f8-b1b1-421d-8fb7-b4dce87cb298
HPLCconditionTemplateID001 | property | BBBBHPLC:column | propertyListType
HPLCconditionTemplateID001 | property | BBBBHPLC:specifications | stringType | [5 empty] | BBBBHPLC:column
HPLCconditionTemplateID001 | property | BBBBHPLC:solvent | propertyListType
HPLCconditionTemplateID001 | property | BBBBHPLC:composition | stringType | [5 empty] | BBBBHPLC:solvent
HPLCconditionTemplateID001 | property | BBBBHPLC:ph | floatType | [5 empty] | BBBBHPLC:solvent
HPLCconditionTemplateID001 | property | BBBBHPLC:flowRate | floatType | mL/min |  |  |  |  | BBBBHPLC:solvent
HPLCconditionTemplateID001 | property | BBBBHPLC:detector | propertyListType
HPLCconditionTemplateID001 | property | BBBBHPLC:detectorTypes | stringType | [5 empty] | BBBBHPLC:detector
HPLCconditionTemplateID001 | property | BBBBHPLC:samplePreparation | propertyListType
HPLCconditionTemplateID001 | property | BBBBHPLC:sampleSolvent | stringType | [5 empty] | BBBBHPLC:samplePreparation
HPLCconditionTemplateID001 | property | BBBBHPLC:column | floatType | mg/mL |  |  |  |  | BBBBHPLC:samplePreparation
HPLCconditionTemplateID001 | property | BBBBHPLC:temperature | propertyListType
HPLCconditionTemplateID001 | property | BBBBHPLC:columnTemperature | floatType | °C |  |  |  |  | BBBBHPLC:temperature
HPLCconditionTemplateID001 | property | BBBBHPLC:sampleTemperature | floatType | °C |  |  |  |  | BBBBHPLC:temperature
HPLCconditionTemplateID001 | property | BBBBHPLC:pressure | propertyListType
HPLCconditionTemplateID001 | property | BBBBHPLC:systemPressure | intType | bar |  |  |  |  | BBBBHPLC:pressure
HPLCconditionTemplateID001 | property | BBBBHPLC:separationMode | stringType
HPLCresultTemplateID001 | property | CDF:detector_maximum_value | floatType | [7 empty] | Y軸最大値
HPLCresultTemplateID001 | property | CDF:detector_minimum_value | floatType | [7 empty] | Y軸最小値
HPLCresultTemplateID001 | property | CDF:actual_run_time_length | floatType | sec | [6 empty] | X軸最大値
HPLCresultTemplateID001 | property | CDF:actual_sampling_interval | floatType | sec | [6 empty] | X軸間隔
HPLCresultTemplateID001 | property | CDF:actual_delay_time | floatType | sec | [6 empty] | 測定開始前の遅延時間
HPLCresultTemplateID001 | content | BBBBHPLC:plot_run_time | contentFloatListType | sec |  |  | 測定時間 |  |  |  | X軸データ
HPLCresultTemplateID001 | content | CDF:ordinate_values | contentFloatListType |  |  |  | 信号強度 |  |  |  | Y軸データ
HPLCresultTemplateID001 | property | BBBBHPLC:peak_data | propertyListType
HPLCresultTemplateID001 | content | CDF:peak_retention_time | contentFloatListType | sec |  |  |  |  | BBBBHPLC:peak_data
HPLCresultTemplateID001 | content | CDF:peak_start_time | contentFloatListType | sec |  |  |  |  | BBBBHPLC:peak_data
HPLCresultTemplateID001 | content | CDF:peak_end_time | contentFloatListType | sec |  |  |  |  | BBBBHPLC:peak_data
HPLCresultTemplateID001 | content | CDF:peak_area | contentFloatListType | [5 empty] | BBBBHPLC:peak_data
HPLCresultTemplateID001 | content | CDF:peak_height | contentFloatListType | [5 empty] | BBBBHPLC:peak_data
HPLCresultTemplateID001 | content | CDF:peak_start_detection_code | contentStringListType | [5 empty] | BBBBHPLC:peak_data
HPLCresultTemplateID001 | content | CDF:peak_stop_detection_code | contentStringListType | [5 empty] | BBBBHPLC:peak_data